Shi Yu Dong

MIS 2501

**Flash Research Assignment:** Data Centers and Networking

 By implementing a Tier III data center, our company can gain net benefits of over $13,229,056 in a three-year period. Moreover, a Tier III data center also increases the availability of the server from 99.67% to 99.98%, which will decrease the unavailable time period and limit our downtime cost to $1,555,776 per year. Therefore, investing $35,000,000 in a Tier III data center is a wise decision to reduce cost and improve our business operation efficiency.

Currently, our Tier I data center has non- redundant capacity components and a non-redundant distribution path that only contains a 99.67% availability. With 99.67% availability, the company faces many different issues with engine generators and cooling. By updating to a Tier III data center, the availability period increases from 99.67 % to 99.98% which will limit the downtime from 1734.48 to 105.12 minutes. Furthermore, the Tier III data center also has N+1 Redundancy capacity components and multiple independent distribution paths. This means that the data center is available to build up a backup system to prevent any accidental events, which includes issues with the engine generator, UPS modules, cooling unit, etc.

The average loss per minutes is about $14,800 and with approximately 1,734 minutes of downtime per year, resulting in a total revenue loss of $25,670,304 per year. On the other hand, by updating to Tier III data center, we will only face approximately 105 minutes of downtime which will only cost $1,555,776 per year. Implementing a Tier III data center will cost a total of $35,000,000 in a three-year period, but after Tier III data center installation is completed, it will result in a total $48,000,000 benefit over a three-year period. Moreover, by comparing the result of a Tier III data center with a Tier I data center, implementing a Tier III data center can help us gain a net benefit of $13,229,056 over 3-year period.

|  |
| --- |
| Table A |
|  | Tier I | Tier III |
| Availability (%)  | 99.67% | 99.98% |
| Unavailability (minutes) | 1734.48 | 105.12 |
| Average loss per Minutes | $14,800 | $14,800 |
| Total loss  | $25,670,304 | $1,555,776 |

|  |
| --- |
| Table B |
|  | Year 1  | Year 2 | Year 3 | Total  |
| Cost of implement  | ($35,000,000) | 0 | 0 | ($35,000,000) |
| Benefit  | 0  | $24,114,528 | $24,114,528 | $48,229,056 |
| 3 Year Net Benefit  |  |  |  | $13,229,056 |

References

Institute, Uptime. *UPTIME INSTITUTE Data Center Site Infrastructure Tier Standard: Topology* (n.d.): n. pag. *UptimeInstitute, LLC*. 2012. Web. 5 Feb. 2017.

"Select the Right Data Center Design Standard to Reduce Risks and Save Money." *Gartner*. Gartner, 10 Mar. 2015. Web. 06 Feb. 2017.

"Three Ways to Reduce Storage Costs When Working With Managed Hosting Providers. *“Gartner*. Gartner, 18 Aug. 2015. Web. 06 Feb. 2017.